## Cover
MEDICAL-SURGICAL PATIENT ROOM DESIGN CHECKLIST This checklist is intended for use during the patient room design process, to help facilitate a thorough check of key evidence-based design considerations needed to support design decision-making. The checklist is organized by 23 evidence-based design (EBD) goals in four overarching categories, that address the design of a typical medical-surgical patient room. The checklist includes a series of tabs, each for the evaluation of one EBD goal, with a Home page serving as a central hub for navigating directly to particular EBD goals. The Home page also shows the result of evaluation after completion. Please first go to the Home page to prioritize EBD goals based on specific projects. Variation exists in the goals of patient room design due to differences in operations and organizational goals between different healthcare facilities. The priorities you have set in place for your particular project, the EBD goals, and the key questions that you must ask yourself as a designer, are the foundation of this checklist. On each of the following tabs, a set of key questions relevant to a specific EBD goal are listed for consideration. Below each question, a detailed design feature list is provided and serves as a checkpoint to measure the extent to which the design addresses the key questions/considerations and meets the EBD goal. The design considerations and features are based on a review of research literature, best practices, and expert opinions. Designers can add new design features based on their own literature review and research/experience of the facility owner. There may be instances of trade-offs between the EBD goals and features, and there may be instances where you use some, but not all of the features, depending on the evaluation of value vs. cost by the facility owner (see important notes below). At the end of the checklist, you will find a “script” for typical behaviors in an medical-surgical patient room. Thinking through these behaviors/use scenarios provides a context for this exercise. Click here to directly go to the "script" page. To begin, please complete the following information.
Facility Name:
Project Name:
Lead Designer:
Checklist completion date: | 2/1/2015
Next, please click on the blue 'Home' button to begin the medical-surgical patient room design evaluation. ............................................... Notes. n The checklist is not meant to be an exhaustive list of minimal standards already covered in available design guidelines. Rather, it provides a structured way for designers to consciously focus on key evidence-based design considerations in order to optimize design decision-making resulting in the best value for the investment. n Gathering user input is one important step of decision-making. As a design tool, this checklist is not meant to be a one-size-fit-all prescription for design. In many cases, no prescriptive numbers (e.g. space size or length of headwall) are provided because the optimized numbers depend on a thorough understanding of the needs of patient care and the constraints of project (e.g. operations and costs). Designers should use the key design considerations and design features included in the checklist as basis for working with the facility owner to determine what are “adequate” or “sufficient” numbers (e.g. number of sinks) or sizes (e.g. room door size). Likewise, the facility owner and future users of patient rooms should be consulted regarding subjective aspects (e.g. attractive design). Environmental simulation (e.g. mock-ups, renderings) may be used in gathering input on these issues. Created with support from the American Society of Interior Designers. Copyright 2015 The Center for Health Design. All Rights Reserved. This work is licensed under the Creative Commons Attribution-NonCommercial-NoDerivatives 4.0 International License. To view a copy of this license, visit http://creativecommons.org/licenses/by-nc-nd/4.0/. Disclaimer: The checklist is based on currently available research evidence and expert opinions therefore may not exhaustively cover all patient room design aspects impacting healthcare outcomes. The results produced by using the checklist may vary depending on conditions/users.
EBD Goal #1
EBD Goal #2
EBD Goal #3
Home
EBD Goal #4
EBD Goal #23
Behavior Script

## Home
HOME page
This home page serves as a central hub to access to evaluation tabs. Each of the listed EBD goal on this page is hyperlinked to a corresponding tab which includes the design considerations and features for the particular EBD goal. You have the flexibility to go through only a subset of EBD goals, for example only those which are highly important. At a particular building project, some EBD goals are relatively more important than others. In the table below, the relative importance of design goals for a typical medical-surgical patient room has been identified by assigning a priority rating (High, Medium, Low) for each EBD goal (in column C). However, due to project-specific conditions, priority ratings applicable to your particular project might be different from the typical ratings. Please confirm or change priority ratings applicable to your particular project after consulting with the facility owner. Please limit the 'High' priority rating to seven EBD goals. After the completion of each tab, a single achievement score for the particular EBD goal will appear in column D in the table below. This score is calculated as the percentage of supportive design features used for the goal. Click here to see a “script” for typical behaviors in a medical-surgical patient room.
Categories | EBD Goals | Priority Level | Score
PATIENT SAFETY | 01. IMPROVE MOBILITY AND REDUCE FALLS | High
PATIENT SAFETY | 02. REDUCE RISK OF INJURY | High |  | High
PATIENT SAFETY | 03. REDUCE RISK OF CONTAMINATION | High |  | Medium
PATIENT SAFETY | 04. IMPROVE HAND SANITIZATION | Medium |  | Low
PATIENT SAFETY | 05. PROVIDE SAFE DELIVERY OF CARE | Medium
WORKER SAFETY & EFFECTIVENESS | 06. PROVIDE EFFICIENT DELIVERY OF CARE | High
WORKER SAFETY & EFFECTIVENESS | 07. IMPROVE COMMUNICATION | Medium
WORKER SAFETY & EFFECTIVENESS | 08. IMPROVE STAFF HEALTH | Medium
WORKER SAFETY & EFFECTIVENESS | 09. IMPROVE JOB SATISFACTION | Medium
QUALITY OF CARE & PATIENT EXPERIENCE | 10. REDUCE PATIENT STRESS AND ANXIETY | High
QUALITY OF CARE & PATIENT EXPERIENCE | 11. ENABLE & ENHANCE PATIENT SENSE OF CONTROL | Medium
QUALITY OF CARE & PATIENT EXPERIENCE | 12. IMPROVE PATIENT ENGAGEMENT | Medium
QUALITY OF CARE & PATIENT EXPERIENCE | 13. IMPROVE PATIENT SATISFACTION | High
QUALITY OF CARE & PATIENT EXPERIENCE | 14. IMPROVE FAMILY PRESENCE AND ENGAGEMENT IN PATIENT CARE | High
QUALITY OF CARE & PATIENT EXPERIENCE | 15. IMPROVE COMFORT | Medium
QUALITY OF CARE & PATIENT EXPERIENCE | 16. REDUCE NOISE | Medium
QUALITY OF CARE & PATIENT EXPERIENCE | 17. RESPECT PRIVACY | Medium
ORGANIZATIONAL PERFORMANCE | 18. ENSURE DURABILITY | Low
ORGANIZATIONAL PERFORMANCE | 19. IMPROVE AIR QUALITY | Medium
ORGANIZATIONAL PERFORMANCE | 20. PROVIDE A SECURE ENVIRONMENT | Medium
ORGANIZATIONAL PERFORMANCE | 21. ENABLE CHANGE READINESS/ FUTURE-PROOFING | Medium
ORGANIZATIONAL PERFORMANCE | 22. ENHANCE SUSTAINABILITY | Low
ORGANIZATIONAL PERFORMANCE | 23. PROVIDE RETURN ON INVESTMENT (ROI) | Low

## Goal 1
EBD Goal # 1: IMPROVE MOBILITY AND REDUCED FALLS |  |  | High Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
1-1. Does The room layout enable patient mobility within the room and to/from the corridor? |  | Source | Compatibility/Conflicts | 0 | 0
| Space for clearly defined patient/family/caregiver zones | R | EBD Goal 6 | FALSE |  |  | High Priority | R
| Clearances for wheelchair, furniture and medical equipment | B |  | FALSE |  |  | Medium Priority | B
| Clearance between bed and chair enabling pivot-turn for wheelchair | B |  | FALSE |  |  | Low Priority
| Position of ceiling lift tracks for main patient handling/movement tasks (e.g. moving patient from bed to wheelchair, lifting legs/arms, positioning/repositioning) | B | EBD Goal 2, 6, 8 | FALSE
| Other: |  |  | FALSE
1-2. Is there clear, barrier-free access to the bathroom? |  |  |  | 0 | 0
| Bathroom door visible to the patient while in bed | R |  | FALSE
| No equipment or other obstruction in path to bathroom | R | EBD Goal 6, 9, 10 | FALSE
| Large door openings to accommodate patient, attached equipment and caregiver | R |  | FALSE
| Flush flooring transitions | R |  | FALSE
| Night-lighting located between bed and bathroom | R |  | FALSE
| Supported path (e.g. handrail) to bathroom | R |  | FALSE
| Clear path for use of patient handling/movement equipment (e.g. ceiling-lift) from patient bed to bathroom | R | EBD Goal 2, 6, 8 | FALSE
| Standing assist aids/lifts with ambulation capacity | B | EBD Goal 2, 6, 8 | FALSE
| Other: |  |  | FALSE
1-3. Does the furniture selection enable patient (and family) mobility? |  |  |  | 0 | 0
| Furniture sturdy and stable to support patient transfer and weight bearing requirements (including requirements for bariatric patients) | B |  | FALSE
| Chairs with armrests | B |  | FALSE
| Easily seen casters for rolling furniture which can be locked | B |  | FALSE
| Space beneath the chair to support foot position changes | B |  | FALSE
| Adjustable seat height and back to enable the sit-to-stand movement | B |  | FALSE
| Other: |  |  | FALSE
1-4. Does the flooring selection and design enable patient (and family) mobility? |  |  |  | 0 | 0
| Flooring stable, firm and slip-resistant, especially around water usage area (e.g. bath, shower) | B |  | FALSE
| Minimum joints and seams to ensure that sharp edged objects, like walking sticks or heels, do not cause trips | B |  | FALSE
| Low reflectance value (LRV) of finish to minimize glare | R | EBD Goal 10, 13 | FALSE
| Low contrast in flooring patterns | R |  | FALSE
| Minimum changes between flooring types within the room | R |  | FALSE
| Other: |  |  | FALSE
1-5. Are there patient rooms specifically designed for bariatric patients? |  |  |  | 0 | 0
| Adequate numbers of patient rooms and bathrooms designed specifically for bariatric patients | B |  | FALSE
| Furniture designed for bariatric patients | B | EBD Goal 15 | FALSE
| Spatial clearance (e.g. door width) for bariatric patients | B |  | FALSE
| Patient handling/movement devices specifically designed for bariatric patients | B | EBD Goal 2, 6, 8 | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home

## Goal 2
EBD Goal # 2: REDUCE RISK OF INJURY |  |  | High Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
2-1. Are there provisions for equipment that could aid patient handling and movement? |  | Source | Compatibility/Conflicts | 0 | 0
| Ceiling lifts for patient handling/movement (e.g. lifting arms/legs, lateral transfers, repositioning for patient care, transportation, and other tasks). Include coverage to the bathroom; using traverse tracks to ensure coverage to key locations in the room | R | EBD Goal 1, 6, 8 | FALSE |  |  | High Priority | R
| Floor (portable) lifts for patient handling/movement; including moving patient to the bathroom | R | EBD Goal 1, 6, 8 | FALSE |  |  | Medium Priority | B
| Other patient handling/movement equipment if included in the functional program (e.g. sling, lateral transfer devices, stand assist aids) | R | EBD Goal 1, 6, 8 | FALSE |  |  | Low Priority
| Spaces for storing patient handling/movement devices and accessories when not in use (in room or in other quickly accessible spaces in unit) | B |  | FALSE
| Other: |  |  | FALSE
2-2. In the case of a fall, does the flooring minimize potential of injury? |  |  |  | 0 | 0
| Flooring with energy-absorbent properties (to absorb the force of impact that causes injury, for example rubber) balanced with firmness (to reduce the risk of falling due to poor balance) | R |  | FALSE
| Other: |  |  | FALSE
2-3. Are sharp-edges in the design (including furniture, fixtures, equipment [FFE]) avoided to reduce risk of accidental injury? |  |  |  | 0 | 0
| No sharp edges in furniture and fixtures found in patient/caregiver pathways (e.g. rounded corners of casework) | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
 Previous
Next 
Home

## Goal 3
EBD Goal # 3: REDUCE RISK OF CONTAMINATION |  |  | High Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
3-1. Are all fixtures, equipment and accessories easy to clean and maintain? |  | Source | Compatibility/Conflicts | 0 | 0
| Privacy curtains that can be cleaned and disinfected (e.g. waterproof shower curtains) or are dispensable | B |  | FALSE |  |  | High Priority | R
| Clips or handles used on privacy curtains to minimize contact area that should be cleaned and disinfected | B |  | FALSE |  |  | Medium Priority | B
| Curtains that can be easily removed for cleaning and re-installed | B |  | FALSE |  |  | Low Priority
| Wipe-able/washable, easy-to-clean /disinfect High Touch Surfaces with minimal joints/seams(e.g. toilet handholds, bedpan cleaners, light switches, door knobs, sinks, toilet seats, tray tables, telephones, nurse call devices, and bedside rails) in the room | R |  | FALSE
| Minimum ridges, reveals, or horizontal surfaces on objects that could serve as dust collectors | B |  | FALSE
| Built-in sinks with seamless countertop surface | B |  | FALSE
| Faucets located off-center (to the side of drain) to prevent bio-film splash | R |  | FALSE
| Deep sink basins to prevent splashing from drain to other surfaces | R |  | FALSE
| Water pressure modulated to prevent bio-film splash | R |  | FALSE
| Distance or blockage between sinks and patient area to prevent bio-film splash to patient area | R | EBD Goal 4 | FALSE
| Top of casework, headwall and other fixed items visible and accessible to facilitate cleaning | B |  | FALSE
| Easy-to-clean HVAC (heating, ventilation, and air conditioning) equipment | R |  | FALSE
| Other: |  |  | FALSE
3-2. Are surfaces and finishes easy to clean and maintain? |  |  |  | 0 | 0
| Smooth surfaces, with minimal perforations and crevices | B | EBD Goal 5, 6, 9, 13, 16, 17 | FALSE
| Minimal ridges or reveals that could serve as dust collectors | B |  | FALSE
| Manufacturers’ recommended cleaning protocols for the selected surface and finish materials compatible with recommendations by CDC (Centers for Disease Control and Prevention) Guidelines for Environmental Infection Control in Health-Care Facilities | R |  | FALSE
| Coved right angles between wall and floor | B |  | FALSE
| Joints and seams treated for easy clean/maintenance | B |  | FALSE
| Other: |  |  | FALSE
3-3. Is the furniture easy to clean, disinfect and maintain? |  |  |  | 0 | 0
| Minimal surface joints/seams | B |  | FALSE
| Smooth & nonporous surfaces | B |  | FALSE
| Impervious material for upholstery | B |  | FALSE
| Other: |  |  | FALSE
3-4. Does the air conditioning system adequately filter potential contaminants (harmful micro-organisms, particulates)? |  |  |  | 0 | 0
| Ultraviolet germicidal irradiation (UVGI) filters | R |  | FALSE
| High-efficiency particulate absorption (HEPA) filters | R |  | FALSE
| Other: |  |  | FALSE
3-5. Does the air flow aid in the reduction of contaminant transport within the patient room? |  |  |  | 0 | 0
| Uniform, non-mixed airflow patterns whereby contaminants are directed toward exhaust registers and grilles | R |  | FALSE
| Other: |  |  | FALSE
3-6. Are patients sufficiently separated to prevent cross-contamination? |  |  |  | 0 | 0
| Single-bed patient rooms | R | EBD Goal 9, 10, 13, 16, 17 | FALSE
| Private bathrooms for individual patients | R |  | FALSE
| Negative-pressured rooms for infectious patients, as needed | R |  | FALSE
| Positive-pressured rooms for immunocompromised patients, as needed | R |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 4
EBD Goal # 4: IMPROVE HAND SANITIZATION PRACTICES |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
4-1. Does the hand washing sink station design and location support hand washing compliance? |  | Source | Compatibility/Conflicts | 0 | 0
| ICRA (infection control risk assessment) reviewed location | B |  | FALSE |  |  | High Priority | R
| Sink visible to staff as they enter the room | R |  | FALSE |  |  | Medium Priority | B
| Ergonomically design for ease of use (e.g. height suitable for staff population, faucet height/location, lighting, foot pedal [if any] location) | B |  | FALSE |  |  | Low Priority
| Sink visible and accessible to patients and family but far away enough to prevent bio-film splash to patient area | B | EBD Goal 3 | FALSE
| Other: |  |  | FALSE
4-2. Are there systems in place to serve as hand sanitization reminders? |  |  |  | 0 | 0
| Visual cues | R |  | FALSE
| Electronic hand hygiene reminders | R |  | FALSE
| Other: |  |  | FALSE
4-3. Are there other waterless systems for hand sanitization in visible and accessible locations? |  |  |  | 0 | 0
| Alcohol gel dispensers in visible and accessible locations | R |  | FALSE
| Other: |  |  | FALSE
4-4. Are hands-free mechanisms used to ensure clean hands are not re-contaminated? |  |  |  | 0 | 0
| Sensor technology for faucets, alcohol gel dispensers, soap dispensers etc. | R |  | FALSE
| Other hands free mechanisms (e.g. wrist blades) for faucets, towel dispensers, alcohol gel dispensers, soap dispensers etc. | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 5
EBD Goal # 5: PROVIDE SAFE DELIVERY OF CARE |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others). |  |  |  | g
5-1. Does the design support error-free medication activities? |  | Source | Compatibility/Conflicts | 0 | 0
| Medication Safety Zones (MSZ) identified within the patient room (MSZ – an area where medications are prescribed, orders are entered into a computer or transcribed onto paper documents, or where medications are prepared or administered) | B |  | FALSE |  |  | High Priority | R
| MSZ located out of circulation paths to limit interruption and distraction | R |  | FALSE |  |  | Medium Priority | B
| Space provided for medication associated equipment (e.g. barcode reader) and safety technology (e.g. computerized physician order entry [CPOE]) in the MSZ | R |  | FALSE |  |  | Low Priority
| Space provided for mobile medication-dispensing cart (if used) | B |  | FALSE
| Organized and uncluttered workspace in the MSZ | B |  | FALSE
| Sharps container that is easy to access | B |  | FALSE
| Noise-reduction measures to reduce noise level in MSZ (e.g. sound absorbing finishes, soundless alarms) | R | EBD Goal 6, 9, 13, 16, 17, 3 | FALSE
| Task-lighting in the MSZ for 1. Computer order entry and handwritten order-processing if performed in the patient room 2. Medication preparation and administration 3. Visual confirmation of the correct patient (reading arm band), correct medication and dosage, identification and observation of the administration site | R |  | FALSE
| Other: |  |  | FALSE
5-2. Does the design support patient monitoring by the nurses and other providers? |  |  |  | 0 | 0
| Direct and short visual sightline to patient from corridor/ decentralized nursing station (ability to see patient’s head) | R | EBD Goal 17 | FALSE
| Room layout minimizes walking distance from nursing stations to patient bed | R |  | FALSE
| Natural and artificial lighting (quantity, quality and locations) for patient monitoring and assessment | B |  | FALSE
| Lighting enabling caregiver to check on the patient and equipment (intravenous [IV] pump etc.) during the night without disturbing patient | B | EBD Goal 6 | FALSE
| Telemedicine connections | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 6
EBD Goal # 6: PROVIDE EFFICIENT DELIVERY OF CARE |  |  | High Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
6-1. Are all elements in the rooms located and oriented uniformly to allow standardization of care processes? |  | Source | Compatibility/Conflicts | 0 | 0
| All elements in the patient room located and oriented uniformly across all patient rooms | B |  | FALSE |  |  | High Priority | R
| Medical gases/power outlets mirrored on either side of the bed | B |  | FALSE |  |  | Medium Priority | B
| Other: |  |  | FALSE |  |  | Low Priority
6-2. Do caregivers have control over the environment to adhere to patient needs? |  |  |  | 0 | 0
| Convenient nurse control over lighting and temperature | B | EBD Goal 11 | FALSE
| Other: |  |  | FALSE
6-3. Is there accessible and well organized storage for medical supplies? |  |  |  | 0 | 0
| Flexible but defined options for storage of common supplies (linens, medication, etc.), close to the patient (in or outside the room) to decrease staff time fetching supplies based on a confirmed supply policy | B |  | FALSE
| Visual and tactile discrimination between supplies through use of size, color and texture | B |  | FALSE
| Other: |  |  | FALSE
6-4. Is there sufficient illumination for caregivers to provide care at all times of the day? |  |  |  | 0 | 0
| Lighting at point of care and around patient bed for detailed examination of patient | B | EBD Goal 5 | FALSE
| Lighting to support patient care activities in the room without disturbing the patient at all times of the day/night | B |  | FALSE
| Other: |  |  | FALSE
6-5. Is there sufficient space for caregivers to provide care around the patient bed? |  |  |  | 0 | 0
| Space at headwall/footwall for emergency procedures | B | EBD Goal 1, 9, 10, 21 | FALSE
| Bed and chair clearances for safe patient handling | B | EBD Goal 1, 9, 10, 21 | FALSE
| Space for charting (electronic medical record [EMR] and manual) away from sink | B | EBD Goal 1, 9, 10, 21 | FALSE
| Space for preparation for clinical procedures (medications, dressings etc.) | B | EBD Goal 1, 9, 10, 21 | FALSE
| Space for people and equipment in a code blue response | B | EBD Goal 1, 9, 10, 21 | FALSE
| Other: |  |  | FALSE
6-6. Is there sufficient space for the use of mobile equipment including patient handling equipment? |  |  |  | 0 | 0
| Space allotted based on detailed analysis of mobile equipment (such as: intravenous [IV] pumps, medication cart, crash cart, portable lifts, telemedicine equipment) which may be used in the room, and their location | B |  | FALSE
| Space accommodation for patient handling/movement equipment (e.g. ceiling lifts) | R | EBD Goal 1, 2, 8 | FALSE
| A clear path to move the bed/bassinet in/out of room | B |  | FALSE
| Other: |  |  | FALSE
6-7. Does the layout support clinical pathways needed for patient care? |  |  |  | 0 | 0
| Minimum environmental obstacles that interfere with care delivery (e.g. starting an intravenous [IV] pump, monitoring vitals, helping patient to bathroom) | B | EBD Goal 1, 9, 10, 21 | FALSE
| Clearly defined zones for patient, family and caregiver | B | EBD Goal 1 | FALSE
| Adjacencies to minimize staff walking and increase efficiency | B |  | FALSE
| Other: |  |  | FALSE
6-8. Are equipment, connections, outlets, etc. placed where the caregivers can easily access? |  |  |  | 0 | 0
| Locations of equipment, connections, outlets verified with various caregivers for ease of access and use when needed | B |  | FALSE
| Other: | B |  | FALSE
6-9. Is spatial layout of the room (including room size) flexible to accommodate the needs of equipment, personnel, and technology when patient acuity changes? |  |  |  | 0 | 0
| Sufficient space and provision for equipment, medical gases, and power capacity to accommodate different levels of patient acuity including codes | R | EBD Goal 9, 13, 21 | FALSE
| Other: | B |  | FALSE
6-10. Does room layout design support the use of electronic medical records? |  |  |  | 0 | 0
| Sufficient space for the use of bedside electronic medical records (in-room EMR devices including computers, barcode scanners, etc.) | B | EBD Goal 1, 9, 10 | FALSE
| Sufficient space for storage of bedside electronic medical records (in-room EMR devices including computers, barcode scanners, etc.) | B | EBD Goal 1, 9, 10 | FALSE
| Other: |  |  | FALSE
6-11. Are environmental measures in place for the reduction of alarm fatigue among staff? |  |  |  | 0 | 0
| Sound-absorbing finish materials to reduce overall background noise level and consequently reduce the alarm volume level | B | EBD Goal 5, 9, 13, 16, 17, 3 | FALSE
| Noiseless paging/visual alarms and displays | B |  | FALSE
| Selection of alarm systems with centralized alarms at nursing stations and other features to reduce noise in patient rooms | B |  | FALSE
| Other: | B |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 7
EBD Goal # 7: IMPROVE COMMUNICATION |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
7-1. Does the design support communication between patient, family and care provider? |  | Source | Compatibility/Conflicts | 0 | 0
| Place for a physician/nurse to sit/stand around the patient bed to converse with the patient | B |  | FALSE |  |  | High Priority | R
| Family space positioned in line of sight of staff so they can be included in the conversation | B |  | FALSE |  |  | Medium Priority | B
| Furniture configured to facilitate communication | B |  | FALSE |  |  | Low Priority
| Visible and legible communication systems (such as patient room boards) to provide care team information to patients and families | B |  | FALSE
| Easily accessible communication system (e.g. telephone, intercom) for staff between patient room and other healthcare spaces (e.g. nursing station) | B |  | FALSE
| Other: |  |  | FALSE
| Total Score |  |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 8
EBD Goal # 8: IMPROVE STAFF HEALTH |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
8-1. Are there provisions for equipment that could aid patient handling and movement? |  | Source | Compatibility/Conflicts | 0 | 0
| Patient handling/movement equipment (e.g. ceiling lift, floor lift, sling, lateral transfer devices, stand assist aids, wheelchair) | R | EBD Goal 1, 2, 6 | FALSE |  |  | High Priority | R
| Other: |  |  | FALSE |  |  | Medium Priority | B
8-2. Does the flooring aid in reducing staff fatigue? |  |  |  | 0 | 0 |  | Low Priority
| Balance of floor cushioning for underfoot comfort with roller mobility to address staff fatigue associated with standing as well as pushing heavy equipment | R |  | FALSE
| Other: |  |  | FALSE
| Total Score |  |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 9
EBD Goal # 9: IMPROVE JOB SATISFACTION |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
9-1. Is the patient room layout designed with staff needs and job satisfaction in mind? |  | Source | Compatibility/Conflicts | 0 | 0
| Large single-bed patient rooms | R | EBD Goal 1, 3, 6, 10, 13, 16, 17, 21 | FALSE |  |  | High Priority | R
| Flexible patient room layout accommodating care activities when patient needs change (e.g. sufficient spaces for various care activities) | R | EBD Goal 6, 13, 21 | FALSE |  |  | Medium Priority | B
| Other: |  |  | FALSE |  |  | Low Priority
9-2. Does the overall ambient environment of the patient room (including staff work zone) appear attractive and pleasant to staff? |  |  |  | 0 | 0
| Daylight accessible to staff when working in patient rooms | R | EBD Goal 10, 22 | FALSE
| Attractive design in staff work zone and other areas (overall aesthetics, non-institutional materials and colors, pleasant things to look at such as artwork) | R |  | FALSE
| High durability for all elements (e.g. furniture, materials) to minimize visual cracks, stains and damages | B | EBD Goal 10, 18 | FALSE
| Other: |  |  | FALSE
9-3. Are environmental measures in place to reduce staff's exposure to noise when working in patient rooms? |  |  |  | 0 | 0
| Noise-reduction measures in patient room including staff work zone (e.g. sound absorbing finishes, soundless alarms) | R | EBD Goal 5, 6, 13, 16, 17, 3 | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 10
EBD Goal # 10: REDUCE PATIENT STRESS AND ANXIETY |  |  | High Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
10-1. Does the patient have access to views of nature and other positive distractions? |  | Source | Compatibility/Conflicts | 0 | 0
| Nature view out of window in patient’s line of sight | R | EBD Goal 17, 22 | FALSE |  |  | High Priority | R
| Nature-themed artwork (print, electronic, or immersive) with unambiguous, clear, and culturally appropriate content in patient’s line of sight (ensure that visibility is not impaired by glare) | R | EBD Goal 13 | FALSE |  |  | Medium Priority | B
| Access to music (with choice and volume control) | R | EBD Goal 13 | FALSE |  |  | Low Priority
| Other: |  |  | FALSE
10-2. Does the patient have access to daylight and sunlight without compromising visual comfort? |  |  |  | 0 | 0
| Presence of windows (with patient controlled shades) and other daylight harvesting methods (such as skylights) | R | EBD Goal 9, 22 | FALSE
| Other: |  |  | FALSE
10-3. Is the environment visually appealing? |  |  |  | 0 | 0
| Non-glare finishes | B | EBD Goal 1, 13 | FALSE
| Flooring that does not scratch/scuff easily | B | EBD Goal 9, 18 | FALSE
| Minimal visual clutter (e.g. equipment and wires) in the room | B | EBD Goal 1, 6, 9 | FALSE
| Unappealing elements hidden from view (trash cans, soiled linen, scrub basin, sharps container, etc.) | R |  | FALSE
| Equipment and wires hidden from patient view (e.g. stowed away equipment/surgical light, concealed gas outlets) when not in use during certain birthing stages (e.g. labor) but easily accessible when needed | R |  | FALSE
| Overall décor that is non-institutional (e.g. subtle/soft contemporary color, texture variety, soft/yielding furnishing) | R | EBD Goal 13 | FALSE
| Other: |  |  | FALSE
10-4. Are potential environmental sources of sleep disturbance minimized in patient rooms? |  |  |  | 0 | 0
| Minimum noise sources in/around patient room (e.g. bedside phone) | R |  | FALSE
| Soundproof windows/walls to block external noise (e.g. planes, traffic), if needed | B |  | FALSE
| Single-bed patient rooms to reduce noises and disturbances | R | EBD Goal 3, 9, 13, 16, 17 | FALSE
| Use of white noise/sound masking to reduce disruptions from noise | R | EBD Goal 15, 17 | FALSE
| Lighting design that allows lighting variation (i.e. bright light during daytime and reduced light during nighttime) for the purpose of maintaining patients’ circadian rhythm | R |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 11
EBD Goal # 11: ENABLE & ENHANCE PATIENT SENSE OF CONTROL |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
11-1. Does the patient have control over their environment, without compromising safety? |  | Source | Compatibility/Conflicts | 0 | 0
| Patient control of adjustable temperature, varied/dimmable lighting and shades, and entertainment within reach of patient bed and chair | R | EBD Goal 6 | FALSE |  |  | High Priority | R
| Other: |  |  | FALSE |  |  | Medium Priority | B
11-2. Is there adequate space for storage of personal belongings? |  |  |  | 0 | 0 |  | Low Priority
| Provision for secured storage in patient and family zones | B |  | FALSE
| Bedside storage accessible to patient lying in bed | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 12
EBD Goal # 12: IMPROVE PATIENT ENGAGEMENT |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
12-1. Does the design support patient engagement in his/her own recovery process? |  | Source | Compatibility/Conflicts | 0 | 0
| Patient access to electronic media for education and entertainment | B |  | FALSE |  |  | High Priority | R
| Design supporting interaction between patients and staff | B |  | FALSE |  |  | Medium Priority | B
| Other: |  |  | FALSE |  |  | Low Priority
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 13
EBD Goal # 13: IMPROVE PATIENT SATISFACTION |  |  | High Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
13-1. Is room layout designed with patient comfort and satisfaction in mind? |  | Source | Compatibility/Conflicts | 0 | 0
| Single-bed patient rooms | R | EBD Goal 3, 9, 10, 16, 17 | FALSE |  |  | High Priority | R
| Flexible patient room layout accommodating care activities when patient needs change (e.g. acuity-adaptable rooms, universal rooms) to reduce need for patient transfers | R | EBD Goal 6, 9, 21 | FALSE |  |  | Medium Priority | B
| Other: |  |  | FALSE |  |  | Low Priority
13-2. Are there positive distractions in patient rooms that can be easily accessed by patients? |  |  |  | 0 | 0
| Positive visual distractions (e.g. nature scene artworks) | R | EBD Goal 10 | FALSE
| Positive audio distractions (e.g. music, nature sounds) | R | EBD Goal 10 | FALSE
| Other: |  |  | FALSE
13-3. Does the patient room look attractive to patients? |  |  |  | 0 | 0
| Non-institutional looking finish materials, fixtures, and furniture | R | EBD Goal 10 | FALSE
| Other: |  |  | FALSE
13-4. Are the environmental stressors (e.g. noise) minimized? |  |  |  | 0 | 0
| Noise reduction measures (e.g. sound-absorbing finishes) | R | EBD Goal 5, 6, 9, 16, 17, 3 | FALSE
| Glare controlled (e.g. through patient/family controlled window blinds/shades) | B | EBD Goal 1, 10, 22 | FALSE
| Intuitive and easy-to-use furniture/fixtures/environmental controls | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 14
EBD Goal # 14: IMPROVE FAMILY PRESENCE AND ENGAGEMENT IN PATIENT CARE |  |  | High Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
14-1. Does the design allow for family to engage in activities without disturbing the patient? |  | Source | Compatibility/Conflicts | 0 | 0
| Furniture (desk/chair/sleeper chair) that does not encroach into the patient/caregiver zone | B |  | FALSE |  |  | High Priority | R
| Family ability to see and hear the TV without disturbing the patient | B |  | FALSE |  |  | Medium Priority | B
| Lighting for family space that does not disturb patients | B |  | FALSE |  |  | Low Priority
| Wireless connectivity/ cellphone access | B |  | FALSE
| Other: |  |  | FALSE
14-2. Is there provision for the family to rest? |  |  |  | 0 | 0
| Comfortable and flexible accommodation/place (e.g. chair, sofa bed) for families to rest or lie down | B |  | FALSE
| Access to family areas outside of patient room, but in close proximity for family breaks (such as lounge, meditation room) | R |  | FALSE
| Other: |  |  | FALSE
14-3. Does the design support family engagement in patient care? |  |  |  | 0 | 0
| Visual connection between family and patient zones | B |  | FALSE
| Furniture configured to facilitate interaction between patient and family | B |  | FALSE
| Ability for family to reach out and touch patient, and provide bedside care | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 15
EBD Goal # 15: IMPROVE COMFORT |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
15-1. Does the sensory environment contribute to patient comfort? |  | Source | Compatibility/Conflicts | 0 | 0
| Ventilation and air conditioning system accommodates temperature differences during different seasons | R |  | FALSE |  |  | High Priority | R
| Air exchange rate to avoid stuffiness without causing drafts | R |  | FALSE |  |  | Medium Priority | B
| Quiet heating, ventilation, and air conditioning (HVAC) system | B |  | FALSE |  |  | Low Priority
| Glare sources (window, TV, mirrors) controlled to minimize patient discomfort | B |  | FALSE
| Elimination or reduction of noise sources (e.g. alarms, pagers, hands free communication etc.) or provision of means to mask the sounds (e.g. white noise machines) | R | EBD Goal 10, 17 | FALSE
| Other: |  |  | FALSE
15-2. Is the furniture comfortable for patients and family? |  |  |  | 0 | 0
| Furniture suitable for wide age and size variations (consider bariatric populations) | B | EBD Goal 1 | FALSE
| Sleep sofa/ chair comfortable for overnight stay | B |  | FALSE
| Patient chair comfortable without compromising safety | B |  | FALSE
| Other: |  |  | FALSE
15-3. Do the patient and family have easy access to amenities? |  |  |  | 0 | 0
| Amenities as considered appropriate, such as power outlets, wireless connection, phones, etc. | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 16
EBD Goal # 16: REDUCE NOISE |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
16-1. Does the layout of the room in relation to the unit aid in reducing noise levels? |  | Source | Compatibility/Conflicts | 0 | 0
| Bed location/orientation to move patient head away from the door (without compromising patient monitoring) | B |  | FALSE |  |  | High Priority | R
| Single-bed patient rooms | R | EBD Goal 3, 9, 10, 13, 17 | FALSE |  |  | Medium Priority | B
| Other: |  |  | FALSE |  |  | Low Priority
16-2. Does the selection of equipment and materials in the room aid in reducing noise levels? |  |  |  | 0 | 0
| Use of acoustic tiles with high noise reduction coefficient (NRC) ratings | R | EBD Goal 5, 6, 9, 13, 17, 3 | FALSE
| Sound-absorbing ceiling construction and finish | R | EBD Goal 5, 6, 9, 13, 17, 3 | FALSE
| Flooring with high sound absorbing properties and low sound transmitting properties | R | EBD Goal 5, 6, 9, 13, 17, 3 | FALSE
| Floor finish and sub-floor conditions that mitigate noise levels transmitted by adjacent spaces | R | EBD Goal 5, 6, 9, 13, 17, 3 | FALSE
| Wall construction and finish blocking/absorbing sound from outside, corridor, and adjacent rooms | R | EBD Goal 5, 6, 9, 13, 17, 3 | FALSE
| Minimal noise from equipment operation (e.g. door closure, curtain track) | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 17
EBD Goal # 17: RESPECT PRIVACY |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
17-1. Does the design support auditory privacy? |  | Source | Compatibility/Conflicts | 0 | 0
| Technology to filter/mask external noise such as white noise machine; pillow speaker and access to music | R | EBD Goal 10, 15 | FALSE |  |  | High Priority | R
| Single-bed patient rooms | R | EBD Goal 3, 9, 10, 13, 16 | FALSE |  |  | Medium Priority | B
| Sound absorption or blocking measures (e.g. acoustic ceiling tile) to minimize sound transmission between patient rooms, and between patient rooms and corridors | R | EBD Goal 5, 6, 9, 13, 16, 3 | FALSE |  |  | Low Priority
| Other: |  |  | FALSE
17-2. Does the design support visual privacy? |  |  |  | 0 | 0
| Minimum perceived visibility from corridor or public areas: caregiver can see the patient in a manner that protects patient's privacy | R | EBD Goal 5 | FALSE
| Furniture configured to allow patient and family privacy | B |  | FALSE
| Prevention of patient being viewed from outside through exterior windows | R | EBD Goal 10 | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 18
EBD Goal # 18: ENSURE DURABILITY |  |  | Low Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
18-1. Have all furniture, fixtures, equipment (FFE) been assessed for durability over the building's lifecycle? |  | Source | Compatibility/Conflicts | 0 | 0
| Furniture, fixtures, equipment (FFE) warrantied for prolonged time | B |  | FALSE |  |  | High Priority | R
| Other: |  |  | FALSE |  |  | Medium Priority | B
18-2. Have all finishes used been assessed for durability over the building's lifecycle? |  |  |  | 0 | 0 |  | Low Priority
| Materials that can prevent the growth of mildew and mold due to moisture retention | R |  | FALSE
| Materials with high lifecycle performance: minimum wear and tear over time; sustaining recommended cleaning protocols | R | EBD Goal 9, 10 | FALSE
| Flooring that sustains the impact of mobile equipment (e.g. flooring materials including adhesive compatible with equipment weight to avoid indentation) and other frequent wear and tear | R | EBD Goal 9, 10 | FALSE
| Other: |  |  | FALSE
18-3. Has the heating, ventilation, and air-conditioning (HVAC) system (including insulation) been assessed durability over the building's lifecycle? |  |  |  | 0 | 0
| Insulating material for the variable air flow units that functions for the projected lifecycle for the unit | R |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 19
EBD Goal # 19: IMPROVE AIR QUALITY |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
19-1. Do finishes help to improve indoor air quality? |  | Source | Compatibility/Conflicts | 0 | 0
| Minimum emissions of volatile organic compounds (VOCs) | B |  | FALSE |  |  | High Priority | R
| Materials that meet guidelines laid out in Green Guide for Healthcare 2007; and Leadership in Energy & Environmental Design (LEED) for Healthcare Indoor Environmental Quality (IEQ) | B |  | FALSE |  |  | Medium Priority | B
| Minimum need for surface coating and aerosol spray cleaners | B |  | FALSE |  |  | Low Priority
| Low toxicity of materials used | B | EBD Goal 22 | FALSE
| Other: |  |  | FALSE
19-2. Does the ventilation and air conditioning system provide adequate air flow? |  |  |  | 0 | 0
| High rate of air changes per hour | R |  | FALSE
| Positioning of ventilation grilles on the ceiling for efficient ventilation and comfort | R |  | FALSE
| Other: |  |  | FALSE
19-3. Have provisions been made to closely monitor and control air quality during construction/renovation? |  |  |  | 0 | 0
| Equipment and other measures to monitor and control air quality (e.g. filtration, physical barriers) during construction/renovation | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 20
EBD Goal # 20: PROVIDE A SECURE ENVIRONMENT |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
20-1. Is there adequate security for personal and sensitive medical supplies? |  | Source | Compatibility/Conflicts | 0 | 0
| Provisions to lock patient’s valuables | B |  | FALSE |  |  | High Priority | R
| Provisions to lock sensitive medical supplies | B |  | FALSE |  |  | Medium Priority | B
| Other: |  |  | FALSE |  |  | Low Priority
20-2. Have the electronic medical record (EMR) devices (e.g. computers) been located to enable provider communication and security? |  |  |  | 0 | 0
| Caregiver control over computer screen to allow private entering of information (to protect electronic medical record [EMR] from being viewed by other patients and unrelated staff) as well as sharing of information with patient (when needed) | B |  | FALSE
| Other: |  |  | FALSE
20-3. Is there a clear exit route for caregivers in emergency situations? |  |  |  | 0 | 0
| A clear path for caregiver exiting from room in case of any violence from patient or family members | B |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 21
EBD Goal # 21: ENABLE CHANGE READINESS/ FUTURE-PROOFING |  |  | Medium Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
21-1. If needed, can the room adapt to new technology? |  | Source | Compatibility/Conflicts | 0 | 0
| Electrical power, data and medical gas outlets (number and spacing) in all zones (headwall, footwall, caregiver, patient, newborn, and family zones) | B |  | FALSE |  |  | High Priority | R
| Coordination of Design Team with information technology (IT) and communications experts to plan flexible infrastructure that can adapt to expected future technologies | B |  | FALSE |  |  | Medium Priority | B
| Reconfigurable casework | B |  | FALSE |  |  | Low Priority
| Other: |  |  | FALSE
21-2. If needed, can the room accommodate new functions? |  |  |  | 0 | 0
| Adequate room size to absorb additional functions as needed (such as an additional bed in case of emergencies) | B | EBD Goal 6, 9, 13 | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 22
EBD Goal # 22: ENHANCE SUSTAINABILITY |  |  | Low Priority
Please check the EBD considerations and features included in the current design. Design features with research support are indicated with an “R” tag at the end, while those only based on best practices or expert opinions are indicated with a “B” tag. You can also see a list of relevant references for a particular design feature with “R” tag by moving mouse cursor on “R”. The detailed reference information is provided in a separate annotated bibliography. If you wish to add additional design features to the patient room design checklist, you can add them in the cell beginning with "other:" under each design consideration. Please enter only design features supported by research (newly published or existing unpublished research conducted by design firms, healthcare organizations, and others).
22-1. Have energy efficient or water-saving fixtures and equipment been used to reduce consumption? |  | Source | Compatibility/Conflicts | 0 | 0
| Energy-efficient heating, ventilation, and air conditioning (HVAC) systems, lighting fixtures, and other fixtures and equipment (e.g. light-emitting diode [LED] lighting fixture) | R |  | FALSE |  |  | High Priority | R
| Lighting controls to reduce waste of energy for lighting (e.g. photoelectric dimming system, occupancy sensors) | R |  | FALSE |  |  | Medium Priority | B
| Low-consumption flush valves and aerators on toilets, urinals, and lavatory faucets; flow control faucets | B |  | FALSE |  |  | Low Priority
| Other: |  |  | FALSE
22-2. Does the exterior wall in patient rooms help prevent heat transmission? |  |  |  | 0 | 0
| Double-glazed windows, low U-value (a measure of heat loss) glazing | R |  | FALSE
| Cost-effective insulation materials | R | EBD Goal 9, 10 | FALSE
| Solar shading (e.g. reflective internal solar shadings) | R | EBD Goal 13 | FALSE
| Other: |  |  | FALSE
22-3. Is sustainability considered in selecting interior finish materials? |  |  |  | 0 | 0
| Finish materials with low hazardous content including plasticizers, volatile organic compounds, latex, and so on | R | EBD Goal 19 | FALSE
| Finish materials’ production associated with less energy use and lower level of greenhouse gas emission or recyclable materials | R |  | FALSE
| Other: |  |  | FALSE
| Total Score | 0% |  | 0 | 0 | 0
Next 
Home
 Previous

## Goal 23
EBD Goal # 23: PROVIDE RETURN ON INVESTMENT (ROI) |  |  | Low Priority
Enter the percentage of EBD features with ROI completed in the cell highlighted in yellow below
23-1. Does each major EBD feature included in the project to improve a healthcare outcome, have an ROI (return on investment) that evaluates first time and lifecycle costs compared to expected changes in reimbursement, reductions in litigation costs and other improvements to the organization's bottom line (e.g. improved market share, reduction in staff turnover, etc.)?
% | Enter the percentage of EBD features with ROI completed in the cell to the left |  |  | High Priority | R
| Total Score | % |  | Medium Priority | B
Low Priority
Home
 Previous

## Script
SCRIPTS: KEY BEHAVIORS IN THE MEDICAL-SURGICAL PATIENT ROOM BY VARIOUS STAKEHOLDERS
This list is intended to serve as a supplement to the design checklist and help the designer to visualize, and accommodate for the different behaviors that may occur in a typical adult medical-surgical patient room. There may be variation in the rate of occurrence of certain behaviors. Designers should consult with healthcare staff for a more accurate view of key behaviors in patient rooms at a particular medical-surgical unit. Click on each type of stakeholders to see a list of relevant behaviors: nurse, patient, family member, custodial staff, ancillary staff, and provider.
1. Nurse
a. | Responding to nurse calls (hands-free devices, hand-held devices, central call station, call light)
b. | Responding to code (rapid response team engagement)
c. | Routine rounds - assessing and evaluating the patient
d. | Procedures (ordering, interpreting and evaluating diagnostic tests / taking blood samples / administering medicine and other treatments / preparing patient for surgery and other procedures / helping the patient to use the bathroom / bathing the patient- in bed, in the bathroom / feeding the patient / changing dressings / teaching the patient and family member / getting the patient out of bed and ambulating the patient / retrieving supplies, linen, food, equipment / moving or repositioning patients / changing linen and clothes / cleaning bedpan / operating beds / operating curtains and lifts)
e. | Monitoring, recording, and reporting changes in status and indications of conditions in patients, and institute appropriate interventions
f. | Setting up, monitoring, and storing away medical equipment and devices
g. | Evaluating patients' vital signs or laboratory data
h. | Prioritizing nursing care, based on assessment data or identified needs
i. | Providing physician assistance
j. | Washing/cleaning hands
k. | Interacting with the family (information, education)
l. | Interacting with other care team members
m. | Documenting patients' medical histories and assessment findings
n. | Transporting patients to diagnostic and treatment locations, such as radiology, OR
2. Patient
a. | Lying in bed/sleeping
b. | Sitting up for meals or conversations with visitors
c. | Going to the bathroom
d. | Watching positive distractions
e. | Conversing with care providers and visitors
f. | Consuming healthcare information
g. | Moving in / out of room, including going to the chapel/meditation room
h. | Washing hands
i. | Transferring to the bedside chair
j. | Transferring to a wheelchair
k. | Walking with a walker or other assistive device
l. | Operating the technology for information and entertainment, operating controls (TV, light), communication with the hospital staff and outside (TV, other educational information, surveys, etc.)
3. Family member
a. | Conversing with patient
b. | Conversing with care providers
c. | Watching over patient
d. | Engaging with patient in shared activities (viewing TV/ reading)
e. | Assisting patient to go to the bathroom / change/ find a comfortable position on the bed/ eat
f. | Sleeping/working/eating
g. | Moving out of room to the chapel/meditation room/family lounge
h. | Serving as the advocate
i. | Washing hands
j. | Operating the “technology” (TV, light, window blinds) to assist the patient
4. Custodial staff
a. | Cleaning - emptying the trash/cleaning the bathroom/cleaning the high-touch sites/cleaning the floor/ dusting and cleaning bedside furniture Note: Cleaning on two levels: daily upkeep while room is occupied and terminal cleaning after discharge (with vaporized hydrogen peroxide and other more complex cleaning methodologies)
b. | Conversing with patient, family, other staff
5. Ancillary staff: lab, radiology, patient transport, physical therapist, occupational therapist, social worker, etc.
a. | Responding to code
b. | Conversing with patient, family, other staff
c. | Bringing in and removing additional equipment: wheelchair, walker, crutches, splints, bedside commode. Note: Equipment may be brought into the room by the ancillary staff, used for the patient and then removed (stretcher, therapy type equipment) Teaching utilization of equipment for use on discharge by ancillary staff .
d. | Teaching utilization of equipment for use on discharge by ancillary staff
e. | Physical/occupational therapist: assisting with exercises on the bed; assisting to sit or dangle at side of bed; assisting with in room ambulation, or on the floor if needed; conducting in room physiotherapy
f. | Social worker and case manager: Interacting with family, providing help with coping (disease/death)
6. Provider
a. | Responding to code
b. | Assessing and evaluating the patient
c. | Conversing with the patient and family members
d. | Performing procedures – evaluation, diagnostic and treatment (e.g. delivery, administration of anesthesia, etc.)
e. | Documenting care
f. | Disinfecting hands
g. | Making medical rounds with training staff
Home